## Slide 1: MICROPORT CRM Optimizing Intrabody Communication for Pacemaker Systems
Leadless cardiac pacemakers (LCPs)
  Self-contained generator and electrode system
  Eliminates the need for pocket or transvenous leads
Multinode LCP systems require synchronization between implanted devices to function properly
Developed a human torso model in the Synopsys Simpleware™ software to import into the COMSOL Multiphysics® software
Electromagnetics simulation used to:
  Calculate the channel attenuation for LCP devices
  Optimize transceivers for LCP systems
”Investigating Intrabody Communication for Leadless Cardiac Pacemakers”, Mirko Maldari, MicroPort CRM, France
Channel attenuation for an LCP capsule in the right atrium (top) and CAD model geometry of a human torso (right)
Synopsys and Simpleware are trademarks and/or registered trademarks of Synopsys, Inc. in the U.S. and/or other countries.